TECHNICAL DOCUMENTATION

Tempest Rainfall Automation

Automated weather data collection and monthly reporting

# 1. System Overview

This system automates two core functions:

- 1. Collects daily rainfall data from an onsite WeatherFlow Tempest weather station via the WeatherFlow REST API and stores it in a CSV file committed to a GitHub repository.

- 2. Sends a monthly rainfall report on the first Monday of each month — an HTML email with a PDF attachment — to a configured list of recipients.

No servers are required. The system runs entirely on GitHub Actions using free-tier infrastructure.

## 1.1 Components

| File | Purpose |
| --- | --- |
| rainfall_logger.py | Fetches yesterday's finalized rainfall from the WeatherFlow API and updates the CSV |
| monthly_report.py | Reads the CSV, builds an HTML email and PDF report, sends via Gmail SMTP |
| daily_rainfall.csv | Master data file — one row per calendar day, rainfall in inches |
| .github/workflows/rainfall.yml | Schedules daily_logger.py to run every day at 6 AM Central |
| .github/workflows/monthly_report.yml | Schedules monthly_report.py on the first Monday of each month |

## 1.2 Data Flow

Daily (6 AM Central)

- GitHub Actions triggers rainfall.yml

- rainfall_logger.py calls the WeatherFlow station API

- Reads precip_accum_local_yesterday_final — the QC-corrected daily rainfall total for yesterday in mm — and converts to inches

- Updates daily_rainfall.csv with yesterday's entry

- Commits and pushes the updated CSV back to the repository

Monthly (First Monday, 7 AM Central)

- GitHub Actions triggers monthly_report.yml

- monthly_report.py reads daily_rainfall.csv

- Filters to the previous full calendar month, computes total rainfall and rain day count

- Builds an HTML email rendered inline in the recipient's inbox

- Builds a PDF report via ReportLab with the same data, suitable for archiving

- Sends via Gmail SMTP with the PDF as an attachment to all configured recipients

# 2. Setup & Configuration

## 2.1 Prerequisites

- A GitHub account with this repository forked or cloned

- A WeatherFlow Tempest weather station with a personal API token — obtain at tempestwx.com → Settings → Data Authorizations → Create Token

- A Gmail account with 2-Step Verification enabled and an App Password created at myaccount.google.com/apppasswords

## 2.2 GitHub Secrets

All credentials are stored as GitHub Actions secrets. Go to: Settings → Secrets and variables → Actions → New repository secret

| Secret | Description | Example |
| --- | --- | --- |
| TEMPEST_API_TOKEN | WeatherFlow personal access token | a1b2c3d4-... |
| TEMPEST_STATION_ID | WeatherFlow station ID (numeric) | 123456 |
| SMTP_USERNAME | Gmail address used to send | reports@gmail.com |
| SMTP_PASSWORD | Gmail App Password (16 chars, no spaces) | abcdabcdabcdabcd |
| REPORT_FROM_EMAIL | Sender address shown in the email | reports@gmail.com |
| REPORT_FROM_NAME | Display name shown in the email | Tempest Weather Station |
| REPORT_RECIPIENTS | Comma-separated recipient addresses | a@b.com,c@d.com |

## 2.3 Step-by-Step Deployment

- Add all seven GitHub secrets listed above.

- Enable GitHub Actions if not already active (Actions tab → Enable Actions).

- Manually trigger Daily Rainfall via Actions → Daily Rainfall → Run workflow to populate the CSV for the first time.

- Verify daily_rainfall.csv in the repository has a new entry for yesterday.

- Manually trigger Monthly Rainfall Report to send a test email and confirm delivery.

## 2.4 Schedules

| Workflow | Schedule | Cron (UTC) | What it does |
| --- | --- | --- | --- |
| Daily Rainfall | Every day at 6 AM Central | 0 11 * * * | Logs yesterday's rainfall to CSV |
| Monthly Rainfall Report | First Monday of month at 7 AM Central | 0 12 1-7 * 1 | Sends email + PDF report |

Note: The cron runs in UTC. The one-hour shift between CDT and CST does not affect functionality.

# 3. Troubleshooting

## 3.1 Daily Logger

Workflow fails — API error or no data returned

- Verify TEMPEST_API_TOKEN and TEMPEST_STATION_ID are correct in GitHub Secrets

- Check the Tempest station is online at tempestwx.com

- API endpoint used: GET /swd/rest/observations/station/{station_id}

CSV not updated after a successful run

- Check the "Commit & push updated CSV" step in the workflow logs for errors

- Confirm the workflow has permissions: contents: write in rainfall.yml

- If the push is rejected with "fetch first", the workflow needs git pull --rebase origin main before git push

Yesterday's rainfall shows 0.0000 but it rained

- The station may have been offline or lost connectivity during the day

- WeatherFlow's precip_accum_local_yesterday_final reflects finalized QC data — dropouts result in 0

- No manual correction is needed; future days are unaffected

CSV has a gap of several days or weeks

- The daily logger only writes one day per run (yesterday)

- For gaps, use the WeatherFlow device observations endpoint with a custom date range to backfill missing dates

- The device endpoint (/swd/rest/observations/?device_id=...) returns daily-bucketed historical data

- Precipitation is at array index [29] (precip_accum_local_day_final in mm) in the bucketed response

## 3.2 Monthly Report

SMTPAuthenticationError (535)

- The Gmail App Password is incorrect or has expired

- Regenerate an App Password at myaccount.google.com/apppasswords and update the SMTP_PASSWORD secret

- Confirm 2-Step Verification is still enabled on the Gmail account

Report shows the wrong month

- The script targets the previous full month based on datetime.now() in the America/Chicago timezone

- If triggered manually mid-month, it correctly reports the prior month — this is expected behavior

- Do not change the TIMEZONE constant unless the station has moved to a different timezone

PDF not attached or email not received

- Check the full workflow log for Python tracebacks

- Confirm reportlab is listed in the pip install step of monthly_report.yml

- Verify all five email secrets are set (SMTP_USERNAME, SMTP_PASSWORD, REPORT_FROM_EMAIL, REPORT_FROM_NAME, REPORT_RECIPIENTS)

Report fires but recipients don't receive it

- Check spam/junk folders — automated Gmail emails are occasionally filtered

- Verify REPORT_RECIPIENTS contains valid comma-separated addresses with no extra spaces

- Check the Gmail account's Sent folder to confirm the message was sent

## 3.3 General

Workflow does not trigger on schedule

- GitHub may delay scheduled workflows by up to 15-30 minutes during high load

- Scheduled workflows in repositories with no recent activity may be auto-disabled by GitHub

- Push any commit to the repository to re-enable scheduled workflows

How to re-enable a disabled scheduled workflow

- GitHub disables scheduled workflows in repositories with no commits for 60 days

- Push any commit (e.g., a whitespace change to README.md) to reactivate the schedule

- Manually trigger both workflows from the Actions tab to confirm they are working after reactivation